## DX Cooling CRAC + InRow AC
STULZ Marketplace
Reference no. | Unit Type | Cooling Capacity | Comments | Web link | Warehouse | Warranty months | Qty. available | Price / unit | E-Mail
CRAC Precision A/C units, DX cooling, CyberAir 3PRO DX series, CyberRow series)
300218309 | CRS 251 A 400V/50Hz/3Ph/N/PE El. Reheat 1 x 2,1 kW Steam Humidifier 2kg/h Waterdetector incl, sensor Humidity sensor C7000AT | 25-30 kW | 2024 - originally wrapped and unused | https://www.stulz.com/en-de/products/detail/cyberrow/ | Hamburg | 12 months | 1 | on request | stulz@softprom.com
300218309 | CRS 361 A 400V/50Hz/3Ph/N/PE El. Reheat 1 x 6 kW Steam Humidifier 2kg/h Waterdetector incl, sensor Humidity sensor C7000AT | 25-30 kW | 2024 - originally wrapped and unused | https://www.stulz.com/en-de/products/detail/cyberrow/ | Hamburg | 12 months | 1 | on request | stulz@softprom.com
CRS01 | CyberAir CRS 361 GES 380-415/50Hz-3ph Remote ON/OFF-control on terminals C7000 Advanced Control-Sytem - protocol: Modbus RTU Waterdetector incl. Sensor Lateral air discharge to the left | 36 kW | 2019 Model Brand new unit, order was cancelled. The units condition is new but might have dust occured to storage. | https://www.stulz.com/en-de/products/detail/cyberrow/ | Hoofddorp (Netherlands) | To be discussed | 1 | on request | stulz@softprom.com
PERU_1 | CyberAir 3Pro ASU 361 A + CAS Condenser (Tecnivel) 1 E99210 A - BMS contact - common alarm 1 E99215 A - BMS contact - unit on/off 1 E50036 A - remote ON/OFF-control on terminals 1 E99948 A - Shutdown by external firealarm with reset at controller 1 E50030 A - Three phase supervision (over-, under voltage, asymmetry, phase- sequence) 1 E95018 A - Advanced Control-System - protocol: Modbus RTU 1 E98561 A - Digital Extension Board (EDIO) 1 - Seaworthy case packing for unit 1 Voltage 230V / 60Hz / 3F 1 E50013 A - Waterdetector incl. sensor 1 - Damper for top mounting with adapter plate 1 1402151 A - Refrigerant R410A (CyberAir 3PRO-DX) 1 E95670 A - Power supply on terminals, 3-phase 6,3 -10,0 A Condenser: CONDENSADOR CAS-3070/V-EC 3 240V/60 HZ R410A + CBT | 32-37 kW | Brand new units from 2024. Still with originally packing. | https://www.stulz.de/en/products/detail/cyberair-3pro-dx/ | Peru | 12 months | 2 | on request | stulz@softprom.com
PERU_2 | CyberAir 3Pro ASU 361 AD + CAS Condenser (Tecnivel) 1 E99210 A - BMS contact - common alarm 1 E99215 A - BMS contact - unit on/off 1 E50036 A - remote ON/OFF-control on terminals 1 E99948 A - Shutdown by external firealarm with reset at controller 1 E50030 A - Three phase supervision (over-, under voltage, asymmetry, phase- sequence) 1 E95018 A - Advanced Control-System - protocol: Modbus RTU 1 E98561 A - Digital Extension Board (EDIO) 1 - Seaworthy case packing for unit 1 Voltage 230V / 60Hz / 3F 1 E50013 A - Waterdetector incl. sensor 1 - Damper for top mounting with adapter plate 1 1402151 A - Refrigerant R410A (CyberAir 3PRO-DX) 1 E95670 A - Power supply on terminals, 3-phase 6,3 -10,0 A 1 humidifier 8kg/h Condenser: CONDENSADOR CAS-3070/V-EC 3 240V/60 HZ R410A + CBT | 32-37 kW | Brand new units from 2024. Still with originally packing. | https://www.stulz.de/en/products/detail/cyberair-3pro-dx/ | Peru | 12 months | 2 | on request | stulz@softprom.com
PERU_3 | CyberAir 3Pro ASU 472 A + 2x CAS Condenser (Tecnivel) 1 E99210 A - BMS contact - common alarm 1 E99215 A - BMS contact - unit on/off 1 E50036 A - remote ON/OFF-control on terminals 1 E99948 A - Shutdown by external firealarm with reset at controller 1 E50030 A - Three phase supervision (over-, under voltage, asymmetry, phase- sequence) 1 E95018 A - Advanced Control-System - protocol: Modbus RTU 1 E98561 A - Digital Extension Board (EDIO) 1 - Seaworthy case packing for unit 1 Voltage 230V / 60Hz / 3F 1 E50013 A - Waterdetector incl. sensor 1 - Damper for top mounting with adapter plate 1 1402151 A - Refrigerant R410A (CyberAir 3PRO-DX) 1 E95670 A - Power supply on terminals, 3-phase 6,3 -10,0 A Condenser: CONDENSADOR CAS-1025.115.80/V-EC 3 240V/60 HZ R410A + CBT | 47-52 kW | Brand new units from 2024. Still with originally packing. | https://www.stulz.de/en/products/detail/cyberair-3pro-dx/ | Peru | 12 months | 2 | on request | stulz@softprom.com
PERU_4 | CyberAir 3Pro ASU 582 A + 2x CAS Condenser (Tecnivel) 1 E99210 A - BMS contact - common alarm 1 E99215 A - BMS contact - unit on/off 1 E50036 A - remote ON/OFF-control on terminals 1 E99948 A - Shutdown by external firealarm with reset at controller 1 E50030 A - Three phase supervision (over-, under voltage, asymmetry, phase- sequence) 1 E95018 A - Advanced Control-System - protocol: Modbus RTU 1 E98561 A - Digital Extension Board (EDIO) 1 - Seaworthy case packing for unit 1 Voltage 230V / 60Hz / 3F 1 E50013 A - Waterdetector incl. sensor 1 - Damper for top mounting with adapter plate 1 1402151 A - Refrigerant R410A (CyberAir 3PRO-DX) 1 E95670 A - Power supply on terminals, 3-phase 6,3 -10,0 A 1 Floorstand 495 - 545 mm high Condenser: CONDENSADOR CAS-1025.115.80/V-EC 3 240V/60 HZ R410A + CBT | 58-62 kW | Brand new units from 2024. Still with originally packing. | https://www.stulz.de/en/products/detail/cyberair-3pro-dx/ | Peru | 12 months | 5 | on request | stulz@softprom.com
PERU_5 | CyberAir 3Pro ASU 862 A + 2x CAS Condenser (Tecnivel) 1 E99210 A - BMS contact - common alarm 1 E99215 A - BMS contact - unit on/off 1 E50036 A - remote ON/OFF-control on terminals 1 E99948 A - Shutdown by external firealarm with reset at controller 1 E50030 A - Three phase supervision (over-, under voltage, asymmetry, phase- sequence) 1 E95018 A - Advanced Control-System - protocol: Modbus RTU 1 E98561 A - Digital Extension Board (EDIO) 1 - Seaworthy case packing for unit 1 Voltage 230V / 60Hz / 3F 1 E50013 A - Waterdetector incl. sensor 1 - Damper for top mounting with adapter plate 1 1402151 A - Refrigerant R410A (CyberAir 3PRO-DX) 1 E95670 A - Power supply on terminals, 3-phase 6,3 -10,0 A 1 Floorstand 495 - 545 mm high Condenser: CONDENSADOR CAS-3070/V-EC 3 240V/60 HZ R410A + CBT | 85-95 kW | Brand new units from 2024. Still with originally packing. | https://www.stulz.de/en/products/detail/cyberair-3pro-dx/ | Peru | 12 months | 2 | on request | stulz@softprom.com
4100011210 | CyberAir 3 ASD191ACW Electrical reheat single stage 6 Kw Steam humidifier 8 kg/hr Retrofit kit C7000 advanced at plastic part Water detection system Smoke detector Heat sensitive detector Adjustable high pressure switch Condensate pump High performance coil Floor stand Condenser KSV045A21p (R407C) | 18-22 kW | Brand new units from the cancelled order. Stored in an indoor warehouse, never removed from the original factory packaging. | https://www.stulz.de/en/products/detail/cyberair-3pro-dx/ | Hamburg | 12 months | 2 | on request | stulz@softprom.com

## Condensers
STULZ Marketplace
Reference no. | Unit Type | Cooling Capacity | Comments | Web link | Warehouse | Warranty months | Qty. available | Price / unit | E-Mail
Air-cooled condensers
| Condenser CAS-1020/V-ACF/EC 1~ 200-277V 50/60 Hz R410A (Stulz Tecnivel product) | 25 kW | 2022 - originally wrapped and unused | https://stulztecnivel.com/en/condensers/axial/cas-casv-range/ | Paris | on request | 1 | on request | stulz@softprom.com

## CWCoolingCRAC+InRowAC+CyberRack
STULZ Marketplace
Reference no. | Unit Type | Cooling Capacity | Comments | Web link | Warehouse | Warranty months | Qty. available | Price / unit | E-Mail
CRAC Precision A/C units, Chilled water (with water heat exchanger), MiniSpace, CyberAir 3PRO DX and CyberRow Series
| ABR 2500 CW Main options : A - C7000 Advanced Control-System A - 2nd power supply 4-pole 40A (auto changeover to redundant power line) | 170-180 kW | 2023- originally wrapped and unused | https://www.stulz.de/en/products/detail/cyberair-3pro-cw/ | Paris | 12 months | 7 | on request | stulz@softprom.com
4100011036 | CyberAir 3 ASD640CW Electrical reheat single stage 9 Kw Steam humidifier 8 kg/hr Retrofit kit C7000 advanced at plastic part RS485 Bus Extension Board (EBUS) Stainless steel condensate tray Special coil Pressure independent 2 way control valve Special panel - insulation double skin panels F7 filters. | 65 kW | Brand new units from the cancelled order. Stored in an indoor warehouse, never removed from the original factory packaging. | https://www.stulz.de/en/products/detail/cyberair-3pro-cw/ | Kuwait | 12 months | 2 | on request | stulz@softprom.com
4100011036 | CyberAir 3 ASD430CW Electrical reheat single stage 9 Kw Steam humidifier 8 kg/hr Retrofit kit C7000 advanced at plastic part RS485 Bus Extension Board (EBUS) Stainless steel condensate tray Special coil Pressure independent 2 way control valve Special panel - insulation double skin panels F7 filters. | 65 kW | Brand new units from the cancelled order. Stored in an indoor warehouse, never removed from the original factory packaging. | https://www.stulz.de/en/products/detail/cyberair-3pro-cw/ | Kuwait | 12 months | 2 | on request | stulz@softprom.com
| CyberRack SideCooler COWD02DT20P000_4L Open-loop frontal supply W = 300 mm x D = 1200 mm x H = 42U Touch display Power supply 230/1/50-60 2-way PIC valve Colour RAL9005 | 20-60 kW | Production: 2025. Brand new unit from a cancelled order. | https://www.stulz.com/de-de/produkte/detail/cyberrack-sidecooler/ | Italy | 12 months | 12 | on request | stulz@softprom.com
| CyberRack SideCooler COWD02DT202000_4L Open-loop frontal supply W = 300 mm x D = 1200 mm x H = 42U Touch display Power supply 230/1/50-60 2-way valve Colour RAL9005 | 20-60 kW | Production: 2025. Brand new unit from a cancelled order. | https://www.stulz.com/de-de/produkte/detail/cyberrack-sidecooler/ | Italy | 12 months | 2 | on request | stulz@softprom.com
| CyberRack SideCooler COWB42DT20P000_4L CW2 (double CW circuit) Open-loop frontal supply W = 300 mm x D = 1200 mm x H = 42U Touch display Power supply 230/1/50-60 2-way PIC valve Colour RAL9005 | 20-60 kW | Production: 2025. Brand new unit from a cancelled order. | https://www.stulz.com/de-de/produkte/detail/cyberrack-sidecooler/ | Italy | 12 months | 2 | on request | stulz@softprom.com
| CRS 210 CW Main Options: Water detection Condensat Pump Ebus Supply air front Remote On/Off | 25-30 kW | 2024 - originally wrapped and unused | https://www.stulz.com/en-de/products/detail/cyberrow/ | France | 12 months | 1 | on request | stulz@softprom.com

## Telecom AC
STULZ Marketplace
Reference no. | Unit Type | Cooling Capacity | Comments | Web link | Warehouse | Warranty months | Qty. available | Price / unit | E-Mail
STULZ Telecom Precision A/C units, DX cooling, TelAir, WallAir, Split-Air Series
4292-42467 | WallAir WXD 80H - 4.0kW Cooling 230V/50Hz/1Ph/N/PE//48VDC 1.5kW Electric reheat Humidity Sensor Remote air temperature sensor External LCD user and service interface Serial adaptor for MNS/Gateway Aluminium air grille Protective treatment on coils Special WXD40H (WXD80H unit with smaller compressor) Custom soft start limit to 30 amp start | 4 kW | Brand new units from cancelled order. Stored in an indoor warehouse, never removed from the original factory packaging. | https://www.stulz.de/en/products/detail/wallair/ | Stulz England | 3 months | 12 | on request | stulz@softprom.com
TIFA2HT12ZEZ00_1Z | TelAir2 TIFA2HT12ZEZ00_1Z 400V/3Ph/N/50-60Hz Packaged air conditioners for indoor installation with following features: inverter cooling capacity 10,6kW (L30L35) dimensions 879x565xH_2085mm electronic controller C2020 keypad freecooling+emergency ventila | 10, 6 kW | 2018 Model Brand new unit from a cancelled order Phased out product Originally tested and packed, stored indoor Special wiring diagram and working logic | https://www.stulz.de/en/products/detail/telair/ | Stulz Italy | 12 months | 1 | on request | stulz@softprom.com
73701800535 | PRT10HA3201500_1Z PREDATOR 1kW 230/1/50-60 + C100 + FC + 48VDC + RSC 0.6 kW+ ACTKPDC1010HNL | 1 kW | 2018 Model Brand New unit from a canceled order originally tested and packed, stored inside | https://cosmotec.it/en/industrial-air-conditioners-for-electrical-panels/wall-mounted-air-conditioners/predator-prt/ | Hamburg | on request | 10 | on request | stulz@softprom.com

## Chillers
STULZ Marketplace
Reference no. | Unit Type | Cooling Capacity | Comments | Web link | Warehouse | Warranty months | Qty. available | Price / unit | E-Mail
STULZ Chillers
WPE01 | CyberCool WPE030SDNAA300I Standard Chiller 400V/50Hz/3Ph HYDRONIC KIT: Hydraulic Buffertank + 1 pump Flow Switch Refrigerant HP and LP manometers Multi-spring anti-vibration mounts D - Cataphoresis-painted condensers 81,1 kW @ 7-12 CW Temp | 81 kW | 2019 Model Brand new unit, order was cancelled. The units condition is new but might have dust occured to storage. | https://www.stulz.com/en-de/products/detail/explorer-line/ | Hamburg | To be discussed | 1 | on request | stulz@softprom.com